## Curenti slabi sala spectacole
#REF!
#REF!
#REF!
#REF!
INSTALATII ELECTRICE
OBIECT 1 - SALA SPECTACOLE
Nr | Desc | Detaliu | Marci Producator propus | Unitate masura | Cantitate | Pret unitar mat. | Pret total mat. | Pret man. Unitar | Pret man. Total | Total material+ manopera
2. INSTALATIE DETECTIE SI SEMNALIZARE INCENDIU
1 | Centrala de semnalizare incendiu ECS adresabila, 5 bucle, maxim 128 elemente pe bucla, cabinet metalic de culoare rosie, 10 relee 24V/3A, acumulatori 3x 24V/17A, acreditata EN54 |  | Bosch / similar | buc | 1 | 2640.3 | 2640.3 | 3000 | 3000 | 5640.3
2 | Panou repetor |  | Bosch / similar | buc | 1 | 490.1 | 490.1 | 50 | 50 | 540.1
3 | Detector optic de fum montat pe plafon |  | Bosch / similar | buc | 149 | 31.85 | 4745.65 | 7 | 1043 | 5788.65
4 | Detector optic de fum montat in tavanul fals, cu indicator led montat pe plafon |  | Bosch / similar | buc | 64 | 37.05 | 2371.2 | 9 | 576 | 2947.2
5 | Detector optic de fum montat in tubulatura de ventilatie |  | Bosch / similar | buc | 18 | 159.9 | 2878.2 | 50 | 900 | 3778.2
6 | Detector liniar de fum, montat in sala de festivitati |  | Bosch / similar | buc | 7 | 663 | 4641 | 150 | 1050 | 5691
5 | Soclu detectori cu izolator |  | Bosch / similar | buc | 237 | 1.95 | 462.15 | 1 | 237 | 699.15
6 | Buton alarma incendiu |  | Bosch / similar | buc | 44 | 22.1 | 972.4 | 7 | 308 | 1280.4
7 | Carcasa buton manual |  | Bosch / similar | buc | 44 | 6.5 | 286 | 1 | 44 | 330
8 | Detector multicriterial de temperatura si fum |  | Bosch / similar | buc | 6 | 36.4 | 218.4 | 9 | 54 | 272.4
9 | Hupa alarmare incendiu |  | Bosch / similar | buc | 20 | 117 | 2340 | 10 | 200 | 2540
8 | Sursa de alimentare 24V/3A |  | Bosch / similar | buc | 44 | 449.8 | 19791.2 | 20 | 880 | 20671.2
9 | Modul transponder FLM-420-O1I1, complet echipat , carcasa |  | Bosch / similar | buc | 37 | 41.6 | 1539.2 | 15 | 555 | 2094.2
10 | Modul transponder FLM-420-O2I4, complet echipat , carcasa |  | Bosch / similar | buc | 7 | 65 | 455 | 15 | 105 | 560
11 | Modul conectare la PC, conector 1xRJ45, interfata Ethernet 100 Base TX |  | Bosch / similar | buc | 1 | 0 | 0 | 0 | 0 | 0
12 | Software OPC server pentru interconectare cu sitemul BMS |  | Bosch / similar | buc | 1 | 1950 | 1950 | 200 | 200 | 2150
11 | Sirena de exterior de culoare rosie |  | Bosch / similar | buc | 2 | 52 | 104 | 20 | 40 | 144
12 | Acumulator sirena 24V/1500mAh |  | Bosch / similar | buc | 2 | 39 | 78 | 5 | 10 | 88
13 | Cablu incendiu JHSTH E30 2x2x1,36 |  | Schrack / similar | ml | 5785 | 0.78 | 4512.3 | 0.5 | 2892.5 | 7404.8
14 | Cleme metalice prindere tub, rezistente la foc E90 |  | Obo Bettermann / similar | buc | 11570 | 1.3 | 15041 | 0.6 | 6942 | 21983
15 | Cablu NHXH-FE180/E90 3x1,5 |  | Nexans / similar | ml | 40 | 1.43 | 57.2 | 0.6 | 24 | 81.2
3. INSTALATIE SUPRAVEGHERE VIDEO
1 | NVR 24 intrari video, IP, complet echipat, rackabil, Hdd 2x18Tb |  | Dahua/Hikvision | buc | 2 | 754 | 1508 | 50 | 100 | 1608
2 | NVR 16 intrari video, IP, complet echipat, rackabil, Hdd 2x18Tb |  | Dahua/Hikvision | buc | 0 | 0 | 0 | 0 | 0 | 0
| NVR 8 intrari video, IP, complet echipat, rackabil, Hdd 1x12Tb |  | Dahua/Hikvision | buc | 1 | 390 | 390 | 50 | 50 | 440
3 | Camera video fixa de interior, tip dome, Full HD, IR 50m, IP, alimentare POE, complet echipata |  | Dahua/Hikvision | buc | 42 | 188.5 | 7917 | 10 | 420 | 8337
4 | Camera video fixa de exterior, Full HD, IR 50m, carcasa incalzita, IP, alimentare POE, complet echipata |  | Dahua/Hikvision | buc | 5 | 136.5 | 682.5 | 15 | 75 | 757.5
5 | Switch 8x10Base-T/100BASE-Tx/1000Base-T +2 combo ports with mini-GBIC/SFP slots (transceivere incluse), PoE |  | Dahua/Hikvision | buc | 1 | 273 | 273 | 10 | 10 | 283
6 | Switch 16x10Base-T/100BASE-Tx/1000Base-T +2 combo ports with mini-GBIC/SFP slots (transceivere incluse), PoE |  | Dahua/Hikvision | buc | 0 | 273 | 0 | 12 | 0 | 0
7 | Switch 24x10Base-T/100BASE-Tx/1000Base-T +2 combo ports with mini-GBIC/SFP slots (transceivere incluse), PoE |  | Dahua/Hikvision | buc | 2 | 0 | 0 | 15 | 30 | 30
8 | Patchpanel cat 6E, 8xRJ45-1HU, ecranet, suport de cabluri integrat |  | Schrack / similar | buc | 1 | 45.76 | 45.76 | 50 | 50 | 95.76
9 | Patchpanel cat 6E, 16xRJ45-1HU, ecranet, suport de cabluri integrat |  | Schrack / similar | buc | 0 | 0 | 0 | 0 | 0 | 0
10 | Patchpanel cat 6E, 24xRJ45-1HU, ecranet, suport de cabluri integrat |  | Schrack / similar | buc | 2 | 96.33 | 192.66 | 100 | 200 | 392.66
11 | Cablu FTP 4x2x0,5 Cat 6E |  | Schrack / similar | ml | 974 | 0.65 | 633.1 | 0.5 | 487 | 1120.1
12 | Tub IPEY Ø16, cu sistem de prindere si montaj |  | Nexans / similar | ml | 974 | 0.65 | 633.1 | 0.5 | 487 | 1120.1
4. INSTALATIE VOCE-DATE, TV
1 | Rack 19", 18U, 600X800 usa de sticla cu rama metalica, panouri laterale detasabile, kit suporti amplasare pe podea, kit ventilatoare inclus, PDU 7 prize alimentare 230V |  | Schrack / Excel | buc | 3 | 598 | 1794 | 300 | 900 | 2694
2 | Priza date-voce, RJ45 cat 6E, montaj ingropat |  | Schrack / Excel | buc | 24 | 10.4 | 249.6 | 5 | 120 | 369.6
3 | Priza TV |  | Schrack / Excel | buc | 4 | 3.51 | 14.04 | 5 | 20 | 34.04
4 | Optical Distribution Frame (ODF) 8 slots |  |  | buc | 3 | 59.8 | 179.4 | 50 | 150 | 329.4
5 | Switch FO 8x10Base-T/100BASE-Tx/1000Base-T +2 combo ports with mini-GBIC/SFP slots (transceivere incluse) (Switch 8P - RJ45 + 2P SFP + modul SFP) |  | Schrack / similar | buc | 1 | 273 | 273 | 10 | 10 | 283
6 | Switch FO 16x10Base-T/100BASE-Tx/1000Base-T +2 combo ports with mini-GBIC/SFP slots (transceivere incluse) (Switch 16P - RJ45 + 2P SFP + modul SFP) |  | Schrack / similar | buc | 2 | 273 | 546 | 15 | 30 | 576
7 | Patchpanel cat 6E, 8xRJ45-1HU, ecranet, suport de cabluri integrat |  | Schrack / similar | buc | 1 | 46.15 | 46.15 | 50 | 50 | 96.15
8 | Patchpanel cat 6E, 16xRJ45-1HU, ecranet, suport de cabluri integrat |  | Schrack / similar | buc | 2 | 96.33 | 192.66 | 80 | 160 | 352.66
9 | Cablu FTP 4x2x0,5 cat 6E |  | Schrack / similar | ml | 1068 | 0.65 | 694.2 | 0.5 | 534 | 1228.2
10 | Cablu coaxial TV |  | Schrack / similar | ml | 138 | 0.52 | 71.76 | 0.5 | 69 | 140.76
11 | Splitter TV 1IN 4OUT |  | Schrack / similar | buc | 1 | 19.5 | 19.5 | 7 | 7 | 26.5
12 | Fibra optica single mod 2 fibre |  | Schrack / similar | ml | 218 | 0.26 | 56.68 | 0.6 | 130.8 | 187.48
13 | Material necesare ancorari fibrei optice |  | Schrack / similar | sist | 1 | 585 | 585 | 196.875 | 196.875 | 781.875
14 | Tub IPEY Ø16, cu sistem de prindere si montaj |  | Nexans / similar | ml | 821 | 0.65 | 533.65 | 0.5 | 410.5 | 944.15
15 | UPS rackabil, 1000VA, 15min |  | APC/similar | buc | 0 | 0 | 0 | 0 | 0 | 0
16 | UPS rackabil, 750VA, 15min |  | APC/similar | buc | 0 | 0 | 0 | 0 | 0 | 0
17 | UPS rackabil, 2000VA, 15min |  | APC/similar | buc | 3 | 910 | 2730 | 200 | 600 | 3330
18 | Pat de cabluri tip scara, tip RKS, acoperit, 100x50, cu sistem de prindere si montaj, pentru curenti slabi |  | Obo Bettermann / similar | ml | 31 | 7.8 | 241.8 | 5 | 155 | 396.8
19 | Pat de cabluri tip scara, tip RKS, acoperit, 150x50, cu sistem de prindere si montaj, pentru curenti slabi |  | Obo Bettermann / similar | ml | 91 | 9.1 | 828.1 | 6 | 546 | 1374.1
20 | Pat de cabluri tip scara, tip RKS, acoperit, 200x50, cu sistem de prindere si montaj, pentru curenti slabi |  | Obo Bettermann / similar | ml | 9 | 10.4 | 93.6 | 7.5 | 67.5 | 161.1
[9 empty] | Total general | 112173.735
Nota:
1. Livrarea si instalarea echipamentelor mai sus mentionate include: transport, montaj pe pozitie cu toate elementele de ancorare incluse, conexiuni la circuitele mentionate in cadrul proiectului, certificate de testare conform descrierilor din caietul de sarcini, livrare ca sistem complet in conformitate cu schemele monofilare.
Intocmit
Ing. Sorin NICULESCU